## 汇总
batch_no | BATCH-2024-001
batch_name | 2024年1月第一批次巡检
department | 心内科
operator | 系统管理员
current_status | draft
status_before_freeze
freeze_reason
freeze_operator
freeze_time
record_count | 0
abnormal_count | 0
status_distribution | {'normal': 3, 'pending_repair': 1}
created_at | 2026-05-24T16:07:03.392895
updated_at | 2026-05-24T16:08:13.566942

## 巡检记录
record_no | device_code | device_name | inspection_date | inspector | inspection_result | status | abnormal_description | manual_reason | manual_operator | manual_time | version
INSP-2024-001 | DEV-001 | 心电图机 | 2024-01-15 | 张工程师 | 正常 | normal |  |  |  |  | 3
INSP-2024-002 | DEV-002 | 血压监测仪 | 2024-01-15 | 张工程师 | 异常 | pending_repair | 显示屏显示模糊，需要维修 | 设备已送修，状态改为待维修 | 李复核员 | 2026-05-24T16:08:13.446591 | 2
INSP-2024-003 | DEV-003 | 超声诊断仪 | 2024-01-16 | 李工程师 | 正常 | normal |  |  |  |  | 2
INSP-2024-004 | DEV-004 | 呼吸机 | 2024-01-17 | 王工程师 | 正常 | normal |  |  |  |  | 1

## 校准证书
certificate_no | device_code | device_name | calibration_agency | expiry_date | is_expired | is_valid | version
CERT-2024-001 | DEV-001 | 心电图机 | 市计量检定所 | 2027-05-23 | FALSE | TRUE | 2
CERT-2024-002 | DEV-002 | 血压监测仪 | 市计量检定所 | 2026-04-23 | TRUE | TRUE | 2

## 维修报价
quote_no | device_code | device_name | fault_description | quote_amount | quote_status | version
QUOTE-2024-001 | DEV-002 | 血压监测仪 | 显示屏显示模糊 | 2500 | pending | 2

## 状态流转
record_type | record_id | from_status | to_status | change_reason | operator | change_time
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | draft | pending_review | 提交审核 | 王审核员 | 2026-05-24T16:07:04.263535
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | pending_review | reviewing | 开始复核 | 李复核员 | 2026-05-24T16:07:04.489169
inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | abnormal | pending_repair | 设备已送修，状态改为待维修 | 李复核员 | 2026-05-24T16:07:04.525777
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | reviewing | approved | 异常记录已处理 | 李复核员 | 2026-05-24T16:07:04.556697
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | approved | frozen | 临检前冻结，准备检查 | 张护士长 | 2026-05-24T16:07:04.572128
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | frozen | draft | 发现漏项，补充数据 | 张护士长 | 2026-05-24T16:07:04.593136
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | draft | pending_review | 提交审核 | 王审核员 | 2026-05-24T16:08:13.423615
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | pending_review | reviewing | 开始复核 | 李复核员 | 2026-05-24T16:08:13.438370
inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | certificate_expired | pending_repair | 设备已送修，状态改为待维修 | 李复核员 | 2026-05-24T16:08:13.446673
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | reviewing | approved | 异常记录已处理 | 李复核员 | 2026-05-24T16:08:13.461650
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | approved | frozen | 临检前冻结，准备检查 | 张护士长 | 2026-05-24T16:08:13.472730
batch | 74a17cf4-90dd-4be4-8da4-55891b2af750 | frozen | draft | 发现漏项，补充数据 | 张护士长 | 2026-05-24T16:08:13.567126

## 审计日志
operation_type | record_type | record_id | operator | operation_time | change_reason | before_data | after_data
batch_create |  |  | 系统管理员 | 2026-05-24T16:07:03.393471 | 创建批次 |  | {'batch_no': 'BATCH-2024-001', 'name': '2024年1月第一批次巡检', 'department': '心内科'}
data_import | inspection_record | 96c38ca1-bb8c-421e-aeb1-1f30479a3414 | 系统管理员 | 2026-05-24T16:07:03.472941 | 导入巡检记录 |  | {'record_no': 'INSP-2024-001', 'device_code': 'DEV-001', 'inspection_result': '正常'}
data_import | inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | 系统管理员 | 2026-05-24T16:07:03.676295 | 导入巡检记录 |  | {'record_no': 'INSP-2024-002', 'device_code': 'DEV-002', 'inspection_result': '异常'}
data_import | inspection_record | 8c27efb4-532d-4fde-9946-f163b5c9e657 | 系统管理员 | 2026-05-24T16:07:03.699710 | 导入巡检记录 |  | {'record_no': 'INSP-2024-003', 'device_code': 'DEV-003', 'inspection_result': '正常'}
data_import | calibration_certificate | 64bb3948-1901-4eaf-91f9-76c264b0ce18 | 系统管理员 | 2026-05-24T16:07:03.720954 | 导入校准证书 |  | {'certificate_no': 'CERT-2024-001', 'device_code': 'DEV-001', 'expiry_date': '2027-05-23'}
data_import | calibration_certificate | ddb3b25a-36bb-4cc7-b090-3e5a8ffedb8c | 系统管理员 | 2026-05-24T16:07:03.734160 | 导入校准证书 |  | {'certificate_no': 'CERT-2024-002', 'device_code': 'DEV-002', 'expiry_date': '2026-04-23'}
data_import | repair_quote | 6c5ea2a0-0470-4976-84a8-f89c55628670 | 系统管理员 | 2026-05-24T16:07:03.751873 | 导入维修报价 |  | {'quote_no': 'QUOTE-2024-001', 'device_code': 'DEV-002', 'quote_amount': 2500.0}
status_change |  |  | 王审核员 | 2026-05-24T16:07:04.466571 | 提交审核 | {'status': 'draft', 'updated_at': '2026-05-24T16:07:03.392910'} | {'status': 'pending_review', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:07:04.263462'}
status_change |  |  | 李复核员 | 2026-05-24T16:07:04.497864 | 开始复核 | {'status': 'pending_review', 'updated_at': '2026-05-24T16:07:04.263462'} | {'status': 'reviewing', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:07:04.488992'}
status_change | inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | 李复核员 | 2026-05-24T16:07:04.532470 | 设备已送修，状态改为待维修 | {'status': 'abnormal', 'updated_at': '2026-05-24T16:07:03.656057'} | {'status': 'pending_repair', 'manual_reason': '设备已送修，状态改为待维修', 'manual_operator': '李复核员', 'manual_time': '2026-05-24T16:07:04.525593', 'updated_at': '2026-05-24T16:07:04.525669'}
status_change |  |  | 李复核员 | 2026-05-24T16:07:04.564626 | 异常记录已处理 | {'status': 'reviewing', 'updated_at': '2026-05-24T16:07:04.488992'} | {'status': 'approved', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:07:04.556615'}
status_change |  |  | 张护士长 | 2026-05-24T16:07:04.579278 | 临检前冻结，准备检查 | {'status': 'approved', 'updated_at': '2026-05-24T16:07:04.556615'} | {'status': 'frozen', 'status_before_freeze': 'approved', 'updated_at': '2026-05-24T16:07:04.572074'}
status_change |  |  | 张护士长 | 2026-05-24T16:07:04.598765 | 发现漏项，补充数据 | {'status': 'frozen', 'updated_at': '2026-05-24T16:07:04.572074'} | {'status': 'draft', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:07:04.593070'}
data_import | inspection_record | 96c38ca1-bb8c-421e-aeb1-1f30479a3414 | 系统管理员 | 2026-05-24T16:07:12.178610 | 覆盖更新巡检记录 | {'inspection_result': '正常', 'status': 'normal', 'version': 1} | {'inspection_result': '正常', 'status': 'normal', 'version': 2}
data_import | inspection_record | 3f6aecd2-4f18-47db-9c4b-92cae9da2a52 | 系统管理员 | 2026-05-24T16:07:12.354025 | 导入巡检记录 |  | {'record_no': 'INSP-2024-004', 'device_code': 'DEV-004', 'inspection_result': '正常'}
data_import | inspection_record | 96c38ca1-bb8c-421e-aeb1-1f30479a3414 | 系统管理员 | 2026-05-24T16:08:13.192593 | 覆盖更新巡检记录 | {'inspection_result': '正常', 'status': 'normal', 'version': 2} | {'inspection_result': '正常', 'status': 'normal', 'version': 3}
data_import | inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | 系统管理员 | 2026-05-24T16:08:13.221804 | 覆盖更新巡检记录 | {'inspection_result': '异常', 'status': 'pending_repair', 'version': 1} | {'inspection_result': '异常', 'status': 'pending_repair', 'version': 2}
data_import | inspection_record | 8c27efb4-532d-4fde-9946-f163b5c9e657 | 系统管理员 | 2026-05-24T16:08:13.233449 | 覆盖更新巡检记录 | {'inspection_result': '正常', 'status': 'normal', 'version': 1} | {'inspection_result': '正常', 'status': 'normal', 'version': 2}
data_import | calibration_certificate | 64bb3948-1901-4eaf-91f9-76c264b0ce18 | 系统管理员 | 2026-05-24T16:08:13.243980 | 覆盖更新校准证书 | {'calibration_result': '合格', 'is_valid': True, 'version': 1} | {'calibration_result': '合格', 'is_valid': True, 'version': 2}
data_import | calibration_certificate | ddb3b25a-36bb-4cc7-b090-3e5a8ffedb8c | 系统管理员 | 2026-05-24T16:08:13.257345 | 覆盖更新校准证书 | {'calibration_result': '合格', 'is_valid': True, 'version': 1} | {'calibration_result': '合格', 'is_valid': True, 'version': 2}
data_import | repair_quote | 6c5ea2a0-0470-4976-84a8-f89c55628670 | 系统管理员 | 2026-05-24T16:08:13.265102 | 覆盖更新维修报价 | {'quote_amount': 2500.0, 'quote_status': 'pending', 'version': 1} | {'quote_amount': 2500.0, 'quote_status': 'pending', 'version': 2}
status_change |  |  | 王审核员 | 2026-05-24T16:08:13.428619 | 提交审核 | {'status': 'draft', 'updated_at': '2026-05-24T16:07:04.593070'} | {'status': 'pending_review', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:08:13.423569'}
status_change |  |  | 李复核员 | 2026-05-24T16:08:13.441878 | 开始复核 | {'status': 'pending_review', 'updated_at': '2026-05-24T16:08:13.423569'} | {'status': 'reviewing', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:08:13.438303'}
status_change | inspection_record | b3325fd5-12f8-49e3-ade4-2fe19b9be458 | 李复核员 | 2026-05-24T16:08:13.449988 | 设备已送修，状态改为待维修 | {'status': 'certificate_expired', 'updated_at': '2026-05-24T16:08:13.229876'} | {'status': 'pending_repair', 'manual_reason': '设备已送修，状态改为待维修', 'manual_operator': '李复核员', 'manual_time': '2026-05-24T16:08:13.446591', 'updated_at': '2026-05-24T16:08:13.446595'}
status_change |  |  | 李复核员 | 2026-05-24T16:08:13.466646 | 异常记录已处理 | {'status': 'reviewing', 'updated_at': '2026-05-24T16:08:13.438303'} | {'status': 'approved', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:08:13.461596'}
status_change |  |  | 张护士长 | 2026-05-24T16:08:13.511356 | 临检前冻结，准备检查 | {'status': 'approved', 'updated_at': '2026-05-24T16:08:13.461596'} | {'status': 'frozen', 'status_before_freeze': 'approved', 'updated_at': '2026-05-24T16:08:13.472672'}
status_change |  |  | 张护士长 | 2026-05-24T16:08:13.571204 | 发现漏项，补充数据 | {'status': 'frozen', 'updated_at': '2026-05-24T16:08:13.472672'} | {'status': 'draft', 'status_before_freeze': None, 'updated_at': '2026-05-24T16:08:13.566942'}